## RLY_L2_RES_MES
Repeatability and Reproducibility Analysis Report
Process: | ST-E | Applicable Product: | Enphase | Appraiser | Name
Part Name: | unknown | Date: | 04-26-2025 | A | ST-E018
Characteristics: | RLY_L2_RES_MES | Gauge Name: | ST-E
Specification: | 0.0-20.0 | Gauge No: | ST-E018
Spec unit: |  | Gauge Type:
Average of Range Averages | 0.065951 | Range of Station Averages | 0 | Lower Specification Limit | 0 | Upper Specification Limit | 20
Measurement System Analysis |  | % Total variation
Repeatability - Equipment Variation (EV) | 0.038964 | % Equipment Variation (EV) | 1.169%
Reproducibility - Appraiser Variation (AV) | 0 | % Appraiser Variation (AV) | 0%
Repeatability and Reproducibility (R&R) | 0.038964 | % Repeatability and Reproducibility (R&R) | 1.169%
Part Variation (PV) | 0.23375
Total variation (TV) | 0.23697
Station | Trial | 482517041883 | 482517041880 | 482517041877 | 482517041882 | 482517041886 | 482517041885 | 482517041878 | 482517041881 | 482517041884 | 482517041879 | Average
ST-E018 | T0 | 1.6749 | 1.6755 | 1.8435 | 2.1564 | 2.0079 | 1.7596 | 1.9096 | 1.8276 | 1.9195 | 1.6767 | 1.8451
ST-E018 | T1 | 1.68 | 1.6804 | 1.7657 | 1.7803 | 1.7414 | 1.8244 | 2.0918 | 1.9062 | 2.887 | 1.7136 | 1.9071
ST-E018 | T2 | 1.6887 | 1.6795 | 1.6926 | 1.7498 | 1.7289 | 1.7681 | 2.3489 | 1.9649 | 2.0232 | 1.7912 | 1.8436
ST-E018 | T3 | 1.684 | 1.6837 | 1.6787 | 2.003 | 1.7094 | 1.7428 | 1.8011 | 2.3425 | 2.4139 | 2.7114 | 1.9771
ST-E018 | T4 | 1.6797 | 1.6811 | 1.6864 | 1.7337 | 1.754 | 1.7038 | 1.6947 | 2.0699 | 3.8241 | 1.8324 | 1.966
ST-E018 | T5 | 1.6851 | 1.683 | 1.7375 | 1.6769 | 1.9058 | 1.7193 | 1.7304 | 2.0162 | 2.2648 | 1.8443 | 1.8263
ST-E018 | T6 | 1.6816 | 1.6828 | 2.1603 | 1.6795 | 2.1136 | 1.7632 | 1.8618 | 1.9516 | 1.9716 | 1.9182 | 1.8784
ST-E018 | T7 | 1.6828 | 1.6812 | 1.9689 | 1.6835 | 2.1922 | 1.7722 | 1.9262 | 1.9392 | 2.2586 | 2.622 | 1.9727
ST-E018 | T8 | 1.6858 | 1.6834 | 1.7792 | 1.7093 | 2.1971 | 1.8742 | 2.5057 | 2.222 | 2.1509 | 2.0419 | 1.985
ST-E018 | T9 | 1.7124 | 1.6965 | 1.713 | 1.7469 | 2.4583 | 2.2641 | 2.1167 | 2.3435 | 2.5445 | 1.9889 | 2.0585
Average (ST-E018) |  | 1.6855 | 1.6827 | 1.8026 | 1.7919 | 1.9809 | 1.8192 | 1.9987 | 2.0584 | 2.4258 | 2.0141 | 1.926
Range (ST-E018) |  | 0.03755 | 0.02107 | 0.48156 | 0.47951 | 0.74889 | 0.56035 | 0.81099 | 0.51587 | 1.9046 | 1.0347 | 0.65951
Average |  | 1.686 | 1.683 | 1.803 | 1.792 | 1.981 | 1.819 | 1.999 | 2.058 | 2.426 | 2.014 | 0.743
GRR REQUIREMENT | GR&R | Conclusion
| <10% | Gage is excellent
| 10%~30% | Gage is acceptable but need to consider the importance of process, the cost of gage and repair cost to determine if improvement needed.
| >30% | Gage is unacceptable.